INDIANA UNIVERSITY-PURDUE UNIVERSITY at INDIANAPOLIS

IUPUI

•Department of Environmental Health and Safety •

620 Union Drive, Room 043, Indianapolis, Indiana 46202

Lockout/Tagout

Energy Control Program

Purpose and Background

The IUPUI Department of Environmental Health and Safety (EHS) has developed this program to ensure effective implementation, operation and recordkeeping of the University Lockout/Tagout Program in compliance with the Occupational Safety and Health Administration (OSHA) regulation 29 CFR 1910.147 (effective January 2, 1990).  The provisions of the Lockout/Tagout Program shall apply to all personnel at IUPUI including students.

Scope

This program applies to the servicing and maintenance of machines and equipment in which the unexpected energizing or start-up of the machines or equipment, or release of stored energy could cause injury to employees.  This program establishes minimum performance requirements for the control of such hazardous energy.

This program does not apply to the following:

1.	Work on cord and plug connected electric equipment for which exposure to the hazards of unexpected energization or start up of the equipment is controlled by the unplugging of the equipment from the energy source and by the plug remains under the exclusive control of the employee performing the serving or maintenance;

2.	Minor tool changes and adjustments, and other minor servicing activities, which take place during normal maintenance operations, if they are routine, repetitive, and integral to the use of the equipment, provided that the work is performed using alternative measures which provide effective protection; and

3.		Hot tap operations involving transmission and distribution systems for substances such as gas, steam, water or petroleum products when they are performed on pressurized pipelines, provided that the supervising department demonstrates that (1) continuity of service is essential; (2) shutdown of the system is impractical; (3) documented procedures are followed, and special equipment and procedures are used which will provide proven effective protection for employees.

Policy

This policy has the following objectives:

- Prevent injuries to employees or other users engaged in servicing or maintaining activities of machines, equipment or processes where the release of stored energy may put them at serious risk;

- Ensuring that IUPUI Campus is in compliance with OSHA 29CFR 1910.147; and

- Establishing procedures for the locking out of energy sources.

Authority and Responsibility

The Department of Environmental Health and Safety (EHS) has overall responsibility for the establishment and implementation of this program.

EHS shall be responsible for:

- Establishing and implementing the lockout/tagout program;

- Developing the written lockout/tagout program and revising the program as necessary;

- Aiding in the training program for all authorized and affected employees; and

- Maintaining all training records.

Departments with employees affected by this program shall be responsible for:

- Designating a Departmental Program Coordinator who will be responsible for all phases of the lockout/tagout program at the Department level;

- Identifying equipment and energy sources where lockout/tagout protection is necessary;

- Approving lockout devices to be used for each type of equipment that may need to be serviced;

- Providing all necessary lockout/tagout equipment;

- Coordinating with outside contractors when servicing of equipment is done by them or will affect them;

- Removing lockout device with master key, when necessary, if initial authorized employee is unavailable;

- Developing equipment specific energy control procedures as needed;

- Ensuring that all departmental employees are trained in the appropriate use of this program in their work areas;

- Conducting periodic inspections of lockout/tagout procedures; and

- Taking the appropriate corrective action for employees not complying with the lockout/tagout procedures.

The Employees shall be responsible for:

- Complying with all aspects of the lockout/tagout program;

- Attending lockout/tagout training;

- Notifying the supervisor if appropriate lockout devices are not available;

- Using lockout devices according to the requirements of this program; and

- Notifying supervisor if a hazardous situation exists due to the lack of locking out equipment being serviced.

Contractors or other non-university employees shall be responsible for:

- Developing and implementing a lockout/tag-out program for their employees who work on IUPUI property and could be exposed to electrical hazards.  This program must meet OSHA regulations and include issuance of lock-out and tag-out devices and training.

Protective Materials and Hardware

Locks, tags, chains, wedges, key blocks, adapter pins, self-locking fasteners, or other hardware shall be provided by the supervising department for isolating, securing or blocking of machines or equipment from energy sources.

Lockout/tagout devices shall be singularly identified; shall be the only device(s) used for controlling energy; and shall not be used for other purposes.  Devices must meet the following criteria:

Durable

- Lockout and tagout devices shall be capable of withstanding the environment to which they are exposed for the maximum period of time that exposure is expected.

- Tagout devices shall be constructed and printed so that exposure to weather conditions or wet and damp locations will not cause the tag to deteriorate or the message on the tag to become illegible.

- Tags shall not deteriorate when used in corrosive environments such as where acid and alkali chemicals are handled and stored.

Standardized

- Lockout devices shall be standardized in at least one of the following criteria:  color; shape; or size; and additionally, in the case of tagout devices, print and format shall be standardized.

Substantial

- Lockout devices shall be substantial enough to prevent removal without the use of excessive force or unusual techniques, such as with the use of bolt cutters or other metal cutting tools.

- Tagout devices, including their means of attachment, shall be substantial enough to prevent inadvertent or accidental removal.  Tagout device attachment means shall be of a non-reusable type, attachable by hand, self-locking, and non-releasable with a minimum unlocking strength of no less than 50 pounds and having the general design and basic characteristics of being at least equivalent to a one-piece, all environment-tolerant nylon cable tie.

Identifiable

- Lockout devices and tagout devices shall indicate the identity of the employee applying the device(s).

- Tagout devices shall warn against hazardous conditions if the machine or equipment is energized and shall include a legend such as the following: Do Not Start. Do Not Open. Do Not Close.  Do Not Energize. Do Not Operate.

Approval

- Only lockout devices and tagout devices approved by the Departmental Program Coordinator shall be used.

Lockout Device Assignment

Each affected employee shall be furnished two padlocks with keys and appropriate lockout and tagout devices for the purpose of complying with this lockout/tagout policy.  Non-standard lockout or tagout devices will be available from the department supervisor or his designee.

Each Supervisor will be issued a departmental master key that will enable the them to remove the lock of an employee when necessary.

Note: Account for all employees working on the equipment and notify them before the Department Cooridnator removes the lockout or tagout device.

General Procedures

The Department Program Coordinator shall inspect all facilities and consult with employees and supervisors assigned to service and maintain equipment/machinery in order to generate a list of equipment and energy sources for which lockout protection is necessary in accordance with Appendix A - "Machine/Equipment Inventory & Energy Checklist".

Equipment specific energy control procedures shall be developed, documented and utilized for the control of potentially hazardous energy in accordance with Appendix B - "Energy Control Procedures".

The following general procedures establish the minimum requirements for the lockout of energy isolating devices whenever maintenance or servicing is done on machines or equipment;

- Implementation of a lockout/tagout shall be performed only by authorized employees and according to the lockout/tagout procedures identified in this policy;

- Lockout/tagout procedures shall be used to ensure that the machine or equipment is stopped, isolated from all potentially hazardous energy sources, and locked out before an employee performs any servicing or maintenance where the unexpected energization or start-up of the machine or equipment or release of stored energy could cause injury;

- All employees are required to comply with the restrictions and limitations imposed upon them during the use of lockout;

- All employees, upon observing a machine or piece of equipment which is locked out to perform servicing or maintenance, shall not attempt to start, energize, or use that machine or equipment; and

- Each Department shall take the appropriate corrective action for employees not complying with the lockout/tagout procedures.

Sequence of Lockout System Procedures

Preparation for Shutdown

- Before an authorized employee or affected employee turns off a machine or equipment, the authorized employee shall have knowledge of the type of energy, the magnitude of the energy, the hazard to be controlled, and the method or means to control the energy;

- Notify all affected employees that servicing or maintenance is required on a machine or piece of equipment and that the machine or piece of equipment must be shut down and locked out to perform the servicing or maintenance;

Machine or Equipment Shutdown

- The machine or equipment shall be turned off or shut down using the procedures established for that machine or equipment;

- If the machine or equipment is operating, shut it down by the normal stopping procedure (depress stop button, open toggle switch, etc.);

Machine or Equipment Isolation

- De-activate the energy isolating device(s) so that that machine or equipment is isolated from the energy source(s);

Lockout or Tagout Device Application

- An authorized employee shall lockout the energy isolating devices with assigned individual lock(s).  A tag shall be affixed with the lock to identify the employee who applied the lockout device;

Stored Energy

- Following the application of lockout or tagout devices, all stored or residual energy (such as that in capacitors, springs, elevated machine members, rotating flywheels, hydraulic systems, and air, gas, steam, or water pressure, etc.) must be dissipated or restrained by methods such as grounds, repositioning, blocking, bleeding down, etc.

Verification of Isolation

- Ensure that the equipment is disconnected from the energy source(s) by first checking that no personnel are exposed, then verify the isolation of the equipment by operating the push button or other normal operating control(s) or by testing to make certain the equipment will not operate;

- CAUTION:  Return operating control(s) to "neutral" or "off" position after the test;

- The equipment is now locked out.

Restoring Machines or Equipment to Normal Production Operations

- Check the machine or equipment and the immediate area around the machine to ensure that nonessential items have been removed and that the machine or equipment components are operationally intact;

- Check the work area to ensure that all employees have been safely positioned or removed from the work area;

- Verify that the controls are in the neutral or “off” position;

- Remove the lockout devices and reenergize the machine or equipment.  Note:  The removal of some forms of blocking may require reenergization of the machine before safe removal;

- Notify affected employees that the services or maintenance is completed and the machine or equipment is ready for use.

Testing or Positioning of Machines, Equipment or Components

In situations in which lockout or tagout devices must be temporarily removed from the energy isolating device and the machine or equipment energized to test or position the machine, equipment or component thereof, the following sequence of actions shall be followed:

- Clear the machine or equipment of tools and materials;

- Remove employees from the machine or equipment area;

- Remove the lockout or tagout devices;

- Energize and proceed with testing or positioning; and

- Deenergize all systems and reapply energy control measures to continue the servicing and/or maintenance.

Tagout Procedures

A tagout system shall ONLY be used when an energy isolating device is not capable of being locked out and upon the approval of the Departmental Program Coordinator.

When a tag is used without a lock, it shall be supplemented by at least one additional safety measure that provides a level of safety equivalent to that obtained by using a lock.  Additional safety measures include the removal of isolating circuit equipment, blocking of a controlling switch, opening an extra disconnecting device, or the removal of a valve handle to reduce the likelihood of inadvertent energization.

Outside Contractors

Whenever outside servicing personnel are to be engaged in activities covered by the scope and application of this procedure, the supervising department and the outside contractor shall inform each other of their respective lockout or tagout procedures.

The supervising department shall ensure that his/her personnel understand and comply with restrictions and prohibitions of the outside employer's energy control procedures.

Group Lockout

When servicing and/or maintenance is performed by a crew, craft, department or other group, they shall utilize a procedure which affords the employees a level of protection equivalent to that provided by the implementation of a personal lockout or tagout device.

Group lockout devices shall be used in accordance with the general procedures listed in this policy and include the following specific requirements;

- One authorized employee shall be designated as responsible for the group lockout/tagout device;

- The hazardous energy control procedures shall be reviewed with each group member;

- When more than one crew, craft, department, etc. is involved, the overall job-associated lockout or tagout control responsibility shall be assigned to one authorized employee designated to coordinate affected work forces and ensure continuity of protection for the group; and

- Each authorized employee shall affix a personal lockout or tagout device to the group lockout device, group lockbox, or comparable mechanism when he or she begins work, and shall remove those devices when he or she stops working on the machine or equipment being serviced or maintained.

Shift or Personnel Changes

The supervising department shall ensure the continuity of lockout or tagout protection, including provision for the orderly transfer of lockout or tagout devices between off-going and oncoming employees, to minimize exposure to hazards from the unexpected energization, start-up of the machine or equipment, or the release of stored energy.

Each employee shall be responsible for removing his/her own lockout device and tag at the completion of his/her shift.  If the work is to cease until the following day, the supervisor shall place his personal lock and tag on the equipment and the employees shall remove their lock and tag.  When work resumes, the employees shall affix his/her personal lock and tag to the equipment and the supervisor shall remove his/her lock and tag.

Lockout or Tagout Device Removal

Each lockout or tagout device shall ONLY be removed from each energy isolating device by the employee who applied the device.

Exception:  When the authorized employee who applied the lockout or tagout device is not available to remove it, that device may be removed by the employees’ immediate supervisor under the approval of the Department Program Coordinator.

The Department Program Coordinator shall verify that the employee who applied the device is not at the facility by;

- Visually inspecting the area, machine, equipment, or process to ensure that employee has left the facility;

- Check the time card or other record to determine if the employee has left the facility;

- Contact fellow employees to determine if the employee is still in the facility;

- Attempt to contact the employee at home.

When an employee cannot be located:

- Contact the Department Program Coordinator for approval to remove the lockout and tag device;

- Continue to make all reasonable efforts to contact the employee to inform him/her that his/her lockout or tagout device has been removed; and

- Ensure the authorized employee has knowledge regarding the removal of the lockout and tag device before resuming work at the facility prior to his/her scheduled shift.

Training and Communication

Environmental Health and Safety shall conduct general lockout/tagout training to ensure that the purpose and function of the energy control program are understood by employees and that employees possess the knowledge and skills required for the safe application, usage, and removal of energy controls.  Training shall include the following:

- Each authorized employee shall receive training in the recognition of applicable hazardous energy sources, the type and magnitude of the energy available in the workplace, and the methods and means necessary for energy isolation and control;

- Each affected employee shall be instructed in the purpose and use of the energy control program; and

- All other employees whose work operations are or may be in an area where energy control procedures may be utilized, shall be instructed about the procedure, and about the prohibition relating to attempts to restart or reenergize machines or equipment which are locked out or tagged out.

When tagout systems are used, employees shall also be trained in the following limitations of tags:

- Tags are essentially warning devices affixed to energy isolating devices, and do not provide the physical restraint on those devices that is provided by a lock;

- When a tag is attached to an energy isolating means, it is not to be removed without authorization of the authorized person responsible for it, and it is never to be bypassed, ignored or otherwise defeated;

- Tags must be legible and understandable by all authorized employees, affected employees, and all other employees whose work operations are or may be in the area in order to be effective;

- Tags and their means of attachment must be made of materials which will withstand the environmental conditions encountered in the workplace;

- Tags may evoke a false sense of security, and their meaning needs to be understood as part of the overall energy control program; and

- Tags must be securely attached to energy isolating devices so that they cannot be inadvertently or accidentally detached during use.

Supervising departments shall maintain a current list of authorized employees.  A copy of the list of authorized employees shall be forwarded to Environmental Health and Safety.

Retraining shall be provided for all authorized and affected employees whenever there is a change in their job assignments, a change in machines, equipment or processes that presents a new hazard, or when there is a change in the energy control procedures.

Additional retraining shall also be conducted whenever a periodic inspection reveals, or whenever the supervising department has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of the energy control procedures.

The training shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary.

Recordkeeping

The supervising department shall certify that employee training has been accomplished and is being kept up to date.  The certification shall contain, as a minimum, each employee's name and dates of training.  A copy of all training records shall be provided to Environmental Health and Safety.

Periodic Inspections

The supervising department shall continually monitor employee performance with regard to compliance with this program and shall correct any deviations or inadequacies observed.

Supervising departments shall conduct a periodic inspection of the energy control procedure at least annually to ensure that the procedure and the requirements of this program are being followed.  The periodic inspection shall be performed by an authorized employee other than the one(s) utilizing the energy control procedure being inspected.  The periodic inspection shall be designed to correct any deviations or inadequacies observed.

Where lockout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized employee, of that employee's responsibilities under the energy control procedure being inspected.

Where tagout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized and affected employee, of that employee’s responsibilities under the energy control procedure being inspected.

The supervising department shall certify in writing that the periodic inspections have been performed.  The certification shall identify the machine or equipment on which the energy control procedure was being utilized, the date of the inspection, the employees included in the inspection, and the person performing the inspection.  Copies of the inspection certification shall be maintained on file in the supervising department and shall be forwarded to the Department Program Coordinator.  See Appendix C for the “Periodic Inspection Checklist and Certification”.